## Sup. Info.
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
CONTACT
1 | 2 | Contact person 1 | Yes/No
2 | 1 | Name | Text
3 | 1 | Email | Text
4 | 1 | Phone | Text
5 | 1 | Position | Text
6 | 2 | Contact person 2 | Yes/No
7 | 1 | Name | Text
8 | 1 | Email | Text
9 | 1 | Phone | Text
10 | 1 | Position | Text
11 | 1 | Contact person at SGRE | Text
12 | 1 | Website | Text
1103 | 2 | Location datas are known? | Yes/No
1104 | 1 | Country | Text
1105 | 1 | Address | Text
EXPERIENCE
13 | 1 | Nature | Text
14 | 3 | When was the test bench built | Numeric
15 | 1 | Which are the companies that have worked previously at this facility? | Text
16 | 1 | Which are the project launched? | Text
17 | 1 | Which is annual turnover to the laboratory? | Text
ECONOMICAL FEATURES
18 | 2 | Are they ecconomically solvent? | Yes/No
19 | 1 | Funding oportunities | Text

## Material
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
MECHANICAL
MATERIAL TESTER
261 | 3 | Dimensions (Specimen maximum) Length | Numeric (mm)
262 | 3 | Dimensions (Specimen maximum) Width | Numeric (mm)
263 | 3 | Dimensions (Specimen maximum) Thickness | Numeric (mm)
264 | 3 | Dimensions (Grip area maximum) Length | Numeric (mm)
265 | 3 | Dimensions (Grip area maximum) Width | Numeric (mm)
266 | 3 | Dimensions (Grip area maximum) Thickness | Numeric (mm)
267 | 3 | Load capacity | Numeric (KN)
268 | 3 | Displacement - cross head | Numeric (mm)
269 | 3 | Extensometers? (0..N) | Numeric
272 | 3 | Strain gauge channels (120 ohm 1/4 bridge)? (0..N) | Numeric
273 | 3 | Strain gauge channels (350 ohm 1/4 bridge)? (0..N) | Numeric
274 | 2 | Video extensometer? | Yes/No
275 | 2 | DIC (Digital Image Correlation)? | Yes/No
276 | 3 | Thermocouples sensors? (0..N) | Numeric
277 | 1 | Additional sensors? | Text
1215 | 2 | Climate chamber that can be used with machine? | Yes/No
1216 | 3 | Maximum temperature | Numeric (ºC)
1217 | 3 | Minimum temperature | Numeric (ºC)
1238 | 3 | Maximum humidity | Numeric (%HR)
1248 | 3 | Temperature increasing gradient | Numeric (º C/min)
1249 | 3 | Temperature decreasing gradient | Numeric (º C/min)
ADDITIONAL MECHANICAL FIXTURES
296 | 2 | Iosipescu Shear (ASTM D 5379)? | Yes/No
297 | 2 | V-Notched Rail Shear (ASTM D 7078)? | Yes/No
298 | 2 | Short Beam Shear (ASTM D 2344)? | Yes/No
299 | 2 | Sandwich Panel Flatwise Shear (ASTM C 273)? | Yes/No
300 | 2 | IITRI Compression (ASTM D 3410)? | Yes/No
301 | 2 | Sandwich Panel Edgewise Compression (ASTM C 364)? | Yes/No
302 | 2 | Compression Platens - Fixed and Spherical Seat? | Yes/No
303 | 2 | 3 and 4 point flexture test (ASTM D 790, D 6272 & D 7264)? | Yes/No
304 | 2 | Long Beam Flexure (ASTM C 393 & D 7249)? | Yes/No
305 | 2 | Sandwich Panel Flatwise Tensile - 2" (50mm) Blocks (ASTM C 297)? | Yes/No
306 | 2 | Sandwich Panel Flatwise Tensile - 1" (25mm) Blocks (ASTM C 297)? | Yes/No
307 | 2 | Curved Beam Strength (ASTM D 6415)? | Yes/No
308 | 2 | Mixed Mode Bending (ASTM D 6671)? | Yes/No
309 | 2 | Climbing Drum Peel (ASTM D 1781)? | Yes/No
310 | 2 | 90 Degree Peel Resistance of Adhesives (ASTM D 6862) | Yes/No
1253 | 2 | 3 Point bending fixture? | Yes/No
1254 | 3 | Specimen width | Numeric (mm)
1255 | 3 | Maximum span | Numeric (mm)
1256 | 3 | Load capacity | Numeric (KN)
1257 | 2 | 4 Point bending fixture? | Yes/No
1258 | 3 | Specimen width | Numeric (mm)
1259 | 3 | Lower span range | Numeric (mm)
1260 | 3 | Upper span range | Numeric (mm)
1261 | 3 | Load Capacity | Numeric (KN)
RET (RAIN EROSION TEST)
GENERAL
346 | 2 | Rotating carrier arm (aerofoil shaped with an integrated specimen)? | Yes/No
347 | 3 | Number of specimen carrier arms (max 3)? | Numeric
348 | 2 | Radial position for the centre of the specimen, rc (min 1.0m)? | Yes/No
349 | 2 | Vertical distance from origin of droplet (needle) to centre of specimen in rotor plane, x (min 0.2m)? | Yes/No
350 | 2 | Angle of incidence, α 90 degrees? | Yes/No
351 | 3 | Distance of test specimen to side wall? | Numeric (m)
352 | 2 | Specimen U-shaped and integrated in the aerofoil design of carrier arm? | Yes/No
353 | 2 | Gauge zone length of specimen, lgz, zone where erosion is evaluated (min 0.2m)? | Yes/No
354 | 2 | Exposure zone of specimen (min 0.2m)? | Yes/No
355 | 2 | Water temperature monitored? | Yes/No
356 | 2 | Test specimen temperature monitored during test? | Yes/No
357 | 2 | Test chamber temperature monitored during test? | Yes/No
358 | 2 | Test chamber pressure monitored during test? | Yes/No
359 | 2 | Droplet size standard deviation monitored before test? | Yes/No
360 | 2 | Mean droplet size, diameter (~2.0mm)? | Yes/No
361 | 2 | Rain field measurement device (e.g. For drop sizes, falling speed)? | Yes/No
CHEMISTRY AND PHYSICS
CLIMATE CHAMBER
362 | 3 | Maximum temperature | Numeric (ºC)
363 | 3 | Minimum temperature | Numeric (ºC)
364 | 3 | Maximum humidity | Numeric (%)
366 | 3 | Temperature increasing gradient | Numeric (º C/min)
367 | 3 | Temperature decreasing gradient | Numeric (º C/min)
368 | 3 | Chamber dimensions: Length | Numeric (mm)
369 | 3 | Chamber dimensions: Width | Numeric (mm)
370 | 3 | Chamber dimensions: Depth | Numeric (mm)
UVA EXPOSURE
371 | 2 | ISO 11507 capable? | Yes/No
372 | 3 | Irradiance | Numeric (m^2/nm)
373 | 3 | Relative humidity range | Numeric (%)
374 | 1 | Lamp type (e.g. UVA-340) | Text
375 | 3 | Chamber dimensions: Length | Numeric (mm)
376 | 3 | Chamber dimensions: Width | Numeric (mm)
377 | 3 | Chamber dimensions: Depth | Numeric (mm)
LOW TEMPERATURE EXPOSURE
378 | 2 | ISO 20340 capable? | Yes/No
379 | 3 | Maximum temperature | Numeric (ºC)
380 | 3 | Minimum temperature | Numeric (ºC)
381 | 3 | Chamber dimensions: Length | Numeric (mm)
382 | 3 | Chamber dimensions: Width | Numeric (mm)
383 | 3 | Chamber dimensions: Depth | Numeric (mm)
SALT SPRAY
384 | 2 | ISO 9227 capable? | Yes/No
385 | 2 | Relative humidity controlled? | Yes/No
386 | 3 | Relative humidity range? | Numeric (%)
387 | 3 | Chamber dimensions: Length | Numeric (mm)
388 | 3 | Chamber dimensions: Width | Numeric (mm)
389 | 3 | Chamber dimensions: Depth | Numeric (mm)
PAINT APPLICATION
391 | 2 | Capability? | Yes/No
ADHESION TEST
392 | 2 | Automatic dolly / pull off type? | Yes/No
SAGGING TEST
393 | 2 | Capability? | Yes/No
SHORE A AND D
394 | 2 | Capability? | Yes/No
KONIG PENDULUM HARDNESS
395 | 2 | Capability? | Yes/No
GLOSS
396 | 2 | Capability? | Yes/No
COLOUR
397 | 2 | Capability? | Yes/No
OPACITY
398 | 2 | Capability? | Yes/No
ROUGHNESS
399 | 2 | Capability? | Yes/No
DUST QUALITY AND SIZE ASSESSMENT
400 | 2 | Capability? | Yes/No
CONDUCTIVITY / SALT CONTENT
401 | 2 | Capability? | Yes/No
DRYING TIME RECORDER
402 | 2 | Capability? | Yes/No
SOLID CONTENT
403 | 2 | Capability? | Yes/No
RHEOLOGI
404 | 2 | Capability? | Yes/No
VISCOSITY
405 | 2 | Capability? | Yes/No
UV-VIS
406 | 2 | Capability? | Yes/No
FTIR
407 | 2 | Capability? | Yes/No
PELT
408 | 2 | Capability? | Yes/No
SURFACE FREE ENERGY
409 | 2 | Capability? | Yes/No
XENON EXPOSURE
410 | 2 | Capability? | Yes/No
411 | 2 | Thermometer? | Yes/No
412 | 2 | Radiometer? | Yes/No
TG MEASUREMENT
413 | 2 | Capability? | Yes/No
FTIR (CHEMICAL STRUCTURE)
414 | 2 | Capability? | Yes/No
GC-MS
415 | 2 | Capability? | Yes/No
NIR
416 | 2 | Capability? | Yes/No
REFLECTIVE INDEX MEASURMENT
417 | 2 | Capability? | Yes/No
TG-DSC/DTA
418 | 2 | Capability? | Yes/No
VHE-MS
419 | 2 | Capability? | Yes/No
DENSITY
420 | 2 | Capability? | Yes/No
RADIOMETER FOR QUV
421 | 2 | Capability? | Yes/No
REVERSE OSMOSIS
422 | 2 | Capability? | Yes/No
WATER CONTENT DETERMINATION
423 | 2 | Capability? | Yes/No
CENTRIFUGAL MILL FOR GRINDING
424 | 2 | Capability? | Yes/No
ULTRASONIC BATH
425 | 2 | Capability? | Yes/No
LABORATORY FURNACE
426 | 2 | Capability? | Yes/No
427 | 3 | Maximum temperature | Numeric (ºC)
428 | 3 | Minimum temperature | Numeric (ºC)
429 | 3 | Chamber dimensions: Length | Numeric (mm)
430 | 3 | Chamber dimensions: Width | Numeric (mm)
431 | 3 | Chamber dimensions: Depth | Numeric (mm)
DSC
432 | 2 | Capability? | Yes/No
BALANCE
435 | 2 | Capability? | Yes/No
BALANCE AND DENSITY DETERMINATION
436 | 2 | Capability? | Yes/No
INFARED SPECTROMETRY
437 | 2 | Capability? | Yes/No
CHEMICAL ANALYSIS
438 | 2 | Capability? | Yes/No
HYDROGEN SENSOR
440 | 2 | Capability? | Yes/No
HIGH PRESSURE STEAM GENERATION
441 | 2 | Capability? | Yes/No
DISPERSION / HOMGENIZATION OF LIQUIDS
442 | 2 | Capability? | Yes/No
SURFACE TENSION AND FREE ENERGY
443 | 2 | Capability? | Yes/No
METALLURGY
CHEMICAL ANALYSIS
445 | 2 | Capability? | Yes/No
HARDNESS (ROCKWELL C)
446 | 2 | Capability? | Yes/No
CARBON COATER
447 | 2 | Capability? | Yes/No
PRECISION CUTTING
448 | 2 | Capability? | Yes/No
HOT MOUNTING
449 | 2 | Capability? | Yes/No
VACUUM IMPREGNATOR
450 | 2 | Capability? | Yes/No
POLISHING
451 | 2 | Capability? | Yes/No
NDT
WIRE DRAW INCRMENTAL ENCODER
454 | 2 | Capability? | Yes/No
FLOURESCENT TESTING
455 | 2 | Capability? | Yes/No
EDDY CURRENT
456 | 2 | Capability? | Yes/No
MANUAL UT
457 | 2 | Capability? | Yes/No
PHASED ARRAY
458 | 2 | Capability? | Yes/No
EDDY CURRENT ARRAY
459 | 2 | Capability? | Yes/No
ELEMENT ANALYSIS
GENERAL
1250 | 2 | Capability? | Yes/No
PERMEABILITY
TRANVERSE PERMEABILITY
1251 | 2 | Capability? | Yes/No
MICROSCOPY
GENERAL
1252 | 3 | Magnification | Numeric

## Water&glycol cool. Cap.
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
490 | 2 | Cooling circuit 1? | Yes/No
491 | 3 | Cooling circuit 1 Flow | Numeric (l/min)
492 | 3 | Cooling circuit 1 Max Pressure | Numeric (Bar)
493 | 3 | Cooling circuit 1 Min Temperature | Numeric (ºC)
494 | 3 | Cooling circuit 1 Max Temperature | Numeric (ºC)
495 | 3 | Cooling circuit 1 Cooling capacity | Numeric (KW)
496 | 3 | Cooling circuit 1 Water proportion | Numeric (%)
497 | 3 | Cooling circuit 1 Glycol proportion | Numeric (%)
498 | 2 | Cooling circuit 2? | Yes/No
499 | 3 | Cooling circuit 2 Flow | Numeric (l/min)
500 | 3 | Cooling circuit 2 Max Pressure | Numeric (Bar)
501 | 3 | Cooling circuit 2 Min Temperature | Numeric (ºC)
502 | 3 | Cooling circuit 2 Max Temperature | Numeric (ºC)
503 | 3 | Cooling circuit 2 Cooling capacity | Numeric (KW)
504 | 3 | Cooling circuit 2 Water proportion | Numeric (%)
505 | 3 | Cooling circuit 2 Glycol proportion | Numeric (%)
1410 | 3 | Total cooling capability | Numeric (kW/h)
1411 | 3 | Total cooling flow | Numeric (l/min)
1412 | 3 | Highest pressure | Numeric (Bar)

## Lubrication sys.
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
506 | 2 | Is there any oil lubrication system? | Yes/No
507 | 1 | Which type of oil? | Text
508 | 3 | How many liters? | Numeric (l)
509 | 3 | Maximum flow | Numeric (l/min)
510 | 3 | Maximum temperature at the entrace of the specimen | Numeric (ºC)
511 | 3 | Minimum temperature at the entrance of the specimen | Numeric (ºC)
512 | 3 | Pressure range pumped in | Numeric (Bar)

## Interfaces
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
MECHANICAL INTERFACES
GENERAL
513 | 2 | Adaptors are needed? | Yes/No
514 | 1 | The test bench can design and manufacture? | Text
515 | 1 | The ownership of the adaptos will be of the test laboratory or the customer? | Text
516 | 3 | For how long will be the ownership of the customer? | Numeric
1413 | 2 | Interfaces designers available? | Yes/No
LUBRICATION SYSTEM INTERFACE
GENERAL
517 | 2 | Hoses available? | Yes/No
518 | 2 | Hydraulic connector available? | Yes/No
519 | 2 | Can the test laboratory arrange that connections? | Yes/No
COOLING SYSTEM INTERFACE
GENERAL
520 | 2 | Hoses available? | Yes/No
521 | 2 | Hydraulic connector available? | Yes/No
522 | 2 | Can the test laboratory arrange that connections? | Yes/No
ELECTRICAL SYSTEM INTERFACE
GENERAL
523 | 2 | MV Power cables,connectors … supply and assembly services? | Yes/No
524 | 2 | Instruments, sensors, connection and DAS programming? | Yes/No

## Building&test stand
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
525 | 5 | Test hall dimensions | BRAND/NUMBER: Hall / M^2 |  |  |  | m^2 | (Insert more rows like this if necessary)
526 | 5 | Dimensions of the reinforced floor | BRAND/NUMBER: M^1 strong floor 1 / Capacity |  |  |  | KN | (Insert more rows like this if necessary)
527 | 5 | Crane Capacity | BRAND/NUMBER: Capacity / Number |  |  |  |  | (Insert more rows like this if necessary)
528 | 5 | External Preparation Area | BRAND/NUMBER: Preparation area 1 / Area |  |  |  | m^2 | (Insert more rows like this if necessary)
529 | 2 | Adequate separation of test stands | Yes/No
530 | 1 | Specimen Transport possibilities (Truck, plane, lorry, …..) | Text
531 | 2 | Storage area/s available/s? | Yes/No
532 | 5 | Details: | BRAND/NUMBER: Storage Area 1 / Area |  |  |  | m^2 | (Insert more rows like this if necessary)
533 | 2 | Offices for the customer available? | Yes/No
534 | 5 | Details: | BRAND/NUMBER: Office / Area |  |  |  | m^2 | (Insert more rows like this if necessary)
535 | 2 | Internet connection available? | Yes/No
536 | 5 | Load application cylinders | BRAND/NUMBER: Number / Capacity |  |  |  | KN | (Insert more rows like this if necessary)
1429 | 3 | Maximum crane capacity | Numeric (ton)

## Instrumentation
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
TEST SENSORS AVAILABLE
GENERAL
537 | 2 | Temperature sensors? | Yes/No
538 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
539 | 2 | Accelerometers? | Yes/No
540 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
541 | 2 | Pressure? | Yes/No
542 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
543 | 2 | Pressure probes (pitot, pitot-static...)? | Yes/No
544 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
545 | 2 | Manometer? | Yes/No
546 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
547 | 2 | Oil level sensors? | Yes/No
548 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
549 | 2 | Electrovalves? | Yes/No
550 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
551 | 2 | Flow meters? | Yes/No
552 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
553 | 2 | Displacement sensors? | Yes/No
554 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
555 | 2 | Load Cell? | Yes/No
556 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
557 | 2 | Strain gages? | Yes/No
558 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
559 | 2 | Fatigue strain gauge? | Yes/No
560 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
561 | 2 | Optical fiber? | Yes/No
562 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
563 | 2 | Pressure Switch? | Yes/No
564 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
565 | 2 | Speed measurement sensor? | Yes/No
566 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
567 | 2 | Current sensor? | Yes/No
568 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
569 | 2 | Voltage Sensor? | Yes/No
570 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
571 | 2 | Torque Measurement? | Yes/No
572 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
573 | 2 | Shaft Voltage Tester? | Yes/No
574 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
VELOCITY AND TURBULENCE MEASUREMENT
GENERAL
575 | 2 | Hot wire anemometer? | Yes/No
576 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
577 | 2 | Laser doppler anemometer? | Yes/No
578 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
579 | 2 | PIV (Particle Image Velocimetry)? | Yes/No
580 | 1 | Description: | Text
581 | 2 | Others? | Yes/No
582 | 1 | Description: | Text
583 | 2 | Angle of attack measurement? | Yes/No
584 | 5 | Details: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
FLOW VISUALIZATION TECHNIQUES
GENERAL
585 | 1 | PIV (Particle Image Velocimetry) available? | Text
586 | 1 | Smoke air technique available? | Text
587 | 1 | Tufts technique available? (fluorescent tufts, UV illumination…) | Text
588 | 1 | IR thermography available? | Text
589 | 1 | Sensitive paints (surface flow) | Text
590 | 1 | Others | Text
CONNECTION OF THE INSTRUMENTATION ON THE DATA ACQUISITION SYSTEM
GENERAL
591 | 5 | Platform used for test control and data adquisition | BRAND/NUMBER: Brand / Model |  |  |  |  | (Insert more rows like this if necessary)
592 | 3 | Number of channels | Numeric
593 | 3 | Number of digital channels | Numeric
594 | 3 | Number analogue channels | Numeric
595 | 2 | Can the test laboratory increase the number of channels? | Yes/No
1430 | 3 | How many channels available to acquire at 1 Hz? | Numeric
1441 | 2 | Can the DAQ generate a Network between different measurement equipments? | Yes/No
SENSORS CHANNELS THAT CAN BE CONNECTED TO THE ACQUISITION SYSTEM
GENERAL
596 | 2 | Termocouples? | Yes/No
597 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
598 | 2 | Accelerometers? | Yes/No
599 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
600 | 2 | Pressure? | Yes/No
601 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
602 | 2 | Oil level sensors? | Yes/No
603 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
604 | 2 | Electrovalves? | Yes/No
605 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
606 | 2 | Flow meters? | Yes/No
607 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
608 | 2 | Displacement sensors? | Yes/No
609 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
610 | 2 | Load Cell? | Yes/No
611 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
612 | 2 | Strain gages? | Yes/No
613 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
614 | 2 | Fatigue strain gauge? | Yes/No
615 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
616 | 2 | Optical fiber? | Yes/No
617 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
618 | 2 | Pressure Switch? | Yes/No
619 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
620 | 2 | Speed measurement sensor? | Yes/No
621 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
622 | 2 | Current sensor? | Yes/No
623 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
624 | 2 | Voltage Sensor? | Yes/No
625 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
626 | 2 | Torque measurement sensor? | Yes/No
627 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
628 | 2 | Shaft Voltage tester? | Yes/No
629 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
630 | 2 | Noise measurement? | Yes/No
631 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
632 | 2 | Oscilloscopes units? | Yes/No
633 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
634 | 2 | Current probes? | Yes/No
635 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
636 | 2 | Voltage probes type@units? | Yes/No
637 | 5 | Detail: | BRAND/NUMBER: Type / Units |  |  |  |  | (Insert more rows like this if necessary)
638 | 2 | Digital power analyzers units : Power quality IEC 61.003 standards? | Yes/No
639 | 5 | Detail: | BRAND/NUMBER: Type / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
640 | 2 | Current probes type@units? | Yes/No
641 | 5 | Detail: | BRAND/NUMBER: Type / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
642 | 2 | Voltage probes type@units? | Yes/No
643 | 5 | Detail: | BRAND/NUMBER: Type / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
644 | 2 | Portable and handheld instruments units? | Yes/No
645 | 5 | Detail: | BRAND/NUMBER: Type / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
646 | 2 | EMC emission and inmunity certified laboratory? | Yes/No
SAMPLES RATES PER SENSOR TYPE
GENERAL
647 | 5 | Termocouples | BRAND/NUMBER: / |  |  |  |  | (Insert more rows like this if necessary)
648 | 3 | Accelerometers | Numeric
649 | 3 | Pressure | Numeric
650 | 3 | Oil level sensors | Numeric
651 | 3 | Electrovalves | Numeric
652 | 3 | Flow meters | Numeric
653 | 3 | Displacement sensors | Numeric
654 | 3 | Load Cell | Numeric
655 | 3 | Strain gages | Numeric
656 | 3 | Fatigue strain gauge | Numeric
657 | 3 | Optical fiber | Numeric
658 | 3 | Pressure Switch | Numeric
659 | 3 | Speed measurement sensor | Numeric
660 | 3 | Current sensor | Numeric
661 | 3 | Voltage Sensor | Numeric
662 | 3 | Torque measurement sensor | Numeric
663 | 3 | Shaft Voltage tester | Numeric
SPECIMEN SURVEILLANCE
GENERAL
664 | 3 | CCTV Cameras number | Numeric
665 | 3 | High frequency Cameras number | Numeric
666 | 3 | Thermographics Cameras number | Numeric
667 | 2 | Temperature monitoring | Yes/No
668 | 2 | Humidity monitoring | Yes/No
1339 | 2 | Does the acquisition system have the capability of trigger/stop the tests? | Yes/No
INSTRUMENTS FOR INSPECTIONS AND FAILURES DETECTION
GENERAL
669 | 2 | Thermographic cameras? | Yes/No
670 | 5 | Detail: | BRAND/NUMBER: number / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
671 | 2 | Videoscope? | Yes/No
672 | 5 | Detail: | BRAND/NUMBER: number / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
673 | 2 | Shaft missaligning measurement tools? | Yes/No
674 | 5 | Detail: | BRAND/NUMBER: number / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
675 | 2 | Low Voltage detection equipment brand-model? | Yes/No
676 | 5 | Detail: | BRAND/NUMBER: number / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
677 | 2 | Medium Voltage detection equipment brand-model? | Yes/No
678 | 5 | Detail: | BRAND/NUMBER: number / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
679 | 2 | Insulation measuring equipment range (Mohm)? | Yes/No
680 | 5 | Detail: | BRAND/NUMBER: number / Brand-model |  |  |  |  | (Insert more rows like this if necessary)
681 | 2 | Ultrasound equipment | Yes/No
682 | 5 | Detail: | BRAND/NUMBER: number / Brand-model |  |  |  |  | (Insert more rows like this if necessary)

## Available staff at bench
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
683 | 3 | General manager | Numeric
684 | 3 | Project manager | Numeric
685 | 3 | Quality coordinator | Numeric
686 | 3 | Mechanical engineer | Numeric
687 | 3 | Electrical engineer | Numeric
688 | 3 | Instrumentation engineer | Numeric
689 | 3 | Monitoring engineer | Numeric
690 | 3 | H&S coordinator | Numeric
691 | 3 | Mechanical technician | Numeric
692 | 3 | Electrical technician | Numeric
693 | 3 | Instrumentation technician | Numeric
694 | 3 | Monitoring technician | Numeric
695 | 3 | H&S technician | Numeric
696 | 3 | Other Specialists: NDT,….. | Numeric

## Needed staff at bench
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
697 | 3 | General manager | Numeric
698 | 3 | Project manager | Numeric
699 | 3 | Quality coordinator | Numeric
700 | 3 | Mechanical engineer | Numeric
701 | 3 | Electrical engineer | Numeric
702 | 3 | Instrumentation engineer | Numeric
703 | 3 | Monitoring engineer | Numeric
704 | 3 | H&S coordinator | Numeric
705 | 3 | Mechanical technician | Numeric
706 | 3 | Electrical technician | Numeric
707 | 3 | Instrumentation technician | Numeric
708 | 3 | Monitoring technician | Numeric
709 | 3 | H&S technician | Numeric
710 | 3 | Other Specialists: NDT,….. | Numeric

## Accreditations
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
STANDARDS
GENERAL
711 | 1 | Which are the standards followed? | Text
712 | 2 | Is it certified by any acredited body? | Yes/No
713 | 5 | Description: | BRAND/NUMBER: Which / When |  |  |  |  | (Insert more rows like this if necessary)
714 | 2 | Is it planed to achieve any new one? | Yes/No
715 | 5 | Description: | BRAND/NUMBER: Which / When |  |  |  |  | (Insert more rows like this if necessary)
716 | 2 | Has been evaluated previously by SGRE? | Yes/No
717 | 1 | When? | Text
1337 | 2 | Is this lab a ISO 17025 Accredited Facility? | Yes/No
CALIBRATIONS
718 | 1 | Calibration methods | Text

## Quality
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL

## Modeling-Simulation
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
719 | 2 | Capability of test bench and specimen modeling? | Yes/No
720 | 2 | Can the test laboratory simulate the test? | Yes/No
721 | 2 | Can they design one test by simulation? | Yes/No
722 | 2 | Already the test bench model available? | Yes/No
723 | 1 | Which is the software used? | Text
724 | 2 | Any previous experience? | Yes/No
1047 | 2 | Can the test laboratory provide a themal model? | Yes/No
1048 | 2 | HW in the loop real time simulation platform? | Yes/No
1340 | 3 | Evaluation of the simulation capabilities | Numeric

## Data-Documentation
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
725 | 2 | Automatic daily reports available? | Yes/No
726 | 2 | Automatic final reports available? | Yes/No
727 | 2 | Is there any available staff at the facility to postprocess the data? | Yes/No
728 | 2 | Data storage servers available? | Yes/No
729 | 2 | Any data transfer server available to transmit the information to the customer? | Yes/No
1341 | 3 | Quality of test specification | Numeric
1342 | 3 | Quality of test report | Numeric
1343 | 3 | Quality of data post processing | Numeric

## HSE
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
730 | 1 | Do the Test Facility hold any valid HSE or QM certifications from an external certification body? | Text
731 | 1 | Any valid approvals on the test bench itself? | Text
732 | 1 | Do the company have an implemented management system? | Text
733 | 1 | Do the company have an integrated HSE organization | Text
734 | 2 | Do the company have a documented incident/accident handling system? | Yes/No
735 | 2 | Including a documented RCA handling system? | Yes/No
736 | 2 | Provide HSE statistics? | Yes/No
737 | 1 | Have the company an overview of the risks linked to the entire plant + the test bench? | Text
1338 | 2 | Does this lab ensure H&S protocols and behavior? | Yes/No

## Experience
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
738 | 2 | Has worked previously with Siemens-GAMESA | Yes/No
739 | 1 | Which are the project worked with Siemens - GAMESA? | Text
740 | 2 | Other previous experiences? | Yes/No
741 | 1 | Which are the tests carried out in the past? | Text
742 | 3 | Are they expensive (0 not expensive, 5 very expensive) | Numeric
743 | 3 | Are they colaborative/proactive? (0 no colaboration, 5 very colaborative) | Numeric
744 | 3 | Do they fulfil the time plan? (0 lot of delays, 5 have cut times) | Numeric
745 | 3 | Do they need a lot of support? (0 can do nothing alone, 5 totaly independant) | Numeric
746 | 3 | Do they give a good reporting for the test? | Numeric
747 | 2 | Do they give a quick feedback to the questions provided? | Yes/No
1440 | 3 | Facility´s opening year | Numeric
TROUBLESHOUTING
748 | 3 | LV&Instrum.failures Reaction time | Numeric (hours )
749 | 3 | MV trips failures reaction time | Numeric (hours )

## Confidenciality
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
750 | 1 | How are the access controlled? | Text
751 | 1 | Which is the hall access policy? | Text
752 | 1 | Which is the specimen visits policy? | Text
753 | 1 | Is it the specimen confidenciality ensured? | Text
754 | 1 | Which is the facility surveilance? | Text
755 | 1 | Photo/Video recording policy | Text
756 | 1 | Test measurements & reports: confidenciality and storage time | Text
757 | 1 | Data Access and management | Text
1336 | 2 | Does this test facility ensures de Security and Condifenciality? | Yes/No
NDA
1439 | 4 | NDA expiration date | Date

## Economic sheet
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
TEST COSTS
FACILITIES
758 | 3 | Allocation per day | Numeric (€/day)
Specimen transport cost
759 | 3 | Truck | Numeric (€)
760 | 3 | Ship | Numeric (€)
761 | 3 | Special transport | Numeric (€)
Personnel Extra night hours
762 | 3 | General manager | Numeric (€/h)
763 | 3 | Project manager | Numeric (€/h)
764 | 3 | Quality coordinator | Numeric (€/h)
765 | 3 | Mechanical engineer | Numeric (€/h)
766 | 3 | Electrical engineer | Numeric (€/h)
767 | 3 | Instrumentation engineer | Numeric (€/h)
768 | 3 | Monitoring engineer | Numeric (€/h)
769 | 3 | H&S coordinator | Numeric (€/h)
770 | 3 | Mechanical technician | Numeric (€/h)
771 | 3 | Electrical technician | Numeric (€/h)
772 | 3 | Instrumentation technician | Numeric (€/h)
773 | 3 | Monitoring technician | Numeric (€/h)
774 | 3 | H&S technician | Numeric (€/h)
775 | 3 | Other Specialists: NDT,….. | Numeric (€/h)
personnel Extra weekend hour cost
776 | 3 | General manager | Numeric (€/h)
777 | 3 | Project manager | Numeric (€/h)
778 | 3 | Quality coordinator | Numeric (€/h)
779 | 3 | Mechanical engineer | Numeric (€/h)
780 | 3 | Electrical engineer | Numeric (€/h)
781 | 3 | Instrumentation engineer | Numeric (€/h)
782 | 3 | Monitoring engineer | Numeric (€/h)
783 | 3 | H&S coordinator | Numeric (€/h)
784 | 3 | Mechanical technician | Numeric (€/h)
785 | 3 | Electrical technician | Numeric (€/h)
786 | 3 | Instrumentation technician | Numeric (€/h)
787 | 3 | Monitoring technician | Numeric (€/h)
788 | 3 | H&S technician | Numeric (€/h)
789 | 3 | Other Specialists: NDT,….. | Numeric (€/h)
Energy
790 | 3 | Energy cost per day | Numeric (€/day)
Extra instrumentation cost
791 | 3 | Termocouples | Numeric (€/day)
792 | 3 | Accelerometers | Numeric (€/day)
793 | 3 | Pressure | Numeric (€/day)
794 | 3 | Oil level sensors | Numeric (€/day)
795 | 3 | Electrovalves | Numeric (€/day)
796 | 3 | Flow meters | Numeric (€/day)
797 | 3 | Displacement sensors | Numeric (€/day)
798 | 3 | Load Cell | Numeric (€/day)
799 | 3 | Straing gauge | Numeric (€/day)
800 | 3 | Fatigue strain gauges | Numeric (€/day)
801 | 3 | Optical fiber | Numeric (€/day)
802 | 3 | Pressure switch | Numeric (€/day)
803 | 3 | Speed measurement sensor | Numeric (€/day)
804 | 3 | Current sensor | Numeric (€/day)
805 | 3 | Voltage sensor | Numeric (€/day)
806 | 3 | Torque measurement sensor | Numeric (€/day)
807 | 3 | Shaft Voltage tester | Numeric (€/day)
808 | 3 | Noise measurement | Numeric (€/day)
809 | 3 | Oscilloscopes units | Numeric (€/day)
Mechanical cost
810 | 3 | Mechanical interfaces cost | Numeric (€)
Electrical cost
811 | 3 | Electrical interfaces cost | Numeric (€)
Cooling cost
812 | 3 | Cooling system interfaces cost | Numeric (€)
Hydraulic cost
813 | 3 | Hydraulic connection cost | Numeric (€)
STORAGE COSTS
1122 | 3 | Storage Area Cost per day | Numeric (€/m^2)
PERSONNEL COST
1123 | 3 | General manager | Numeric (€/h)
1124 | 3 | Project manager | Numeric (€/h)
1125 | 3 | Quality coordinator | Numeric (€/h)
1126 | 3 | Mechanical engineer | Numeric (€/h)
1127 | 3 | Electrical engineer | Numeric (€/h)
1128 | 3 | Instrumentation engineer | Numeric (€/h)
1129 | 3 | Monitoring engineer | Numeric (€/h)
1130 | 3 | H&S coordinator | Numeric (€/h)
1131 | 3 | Mechanical technician | Numeric (€/h)
1132 | 3 | Electrical technician | Numeric (€/h)
1133 | 3 | Instrumentation technician | Numeric (€/h)
1134 | 3 | Monitoring technician | Numeric (€/h)
1135 | 3 | H&S technician | Numeric (€/h)
1136 | 3 | Other Specialists:NDT,.... | Numeric (€/h)
PAYMENT CONDITIONS
ADDRESS/CONTACT
814 | 1 | Name of the creditor | Text
815 | 1 | Street / number | Text
816 | 1 | City / Region | Text
817 | 1 | Country | Text
818 | 1 | Postal code | Text
819 | 1 | Phone | Text
820 | 1 | Mobiles phone | Text
821 | 1 | Fax | Text
822 | 1 | Email | Text
823 | 1 | Fis. Identification number/VAT number /SIRET | Text
824 | 1 | NIF / TVA | Text
PAYMENTS (ONLY FOR TRANSFERS)
825 | 1 | Country | Text
826 | 1 | Bank account number | Text
827 | 1 | Bank key | Text
828 | 1 | Control digit | Text
829 | 1 | Headline | Text
830 | 1 | IBAN / ABA / ISF code / etc. | Text
831 | 1 | Swift o Bic | Text
832 | 1 | Name of the institution | Text
TERM OF PAYMENT
833 | 1 | Payment conditions | Text
834 | 1 | Ways of payment | Text
RETENTION OF TAXES
835 | 1 | Retention country | Text
836 | 1 | Retention type | Text
837 | 1 | Retenction indicator | Text
PURCHASES ORG. DATA
838 | 1 | Order currency | Text
839 | 1 | Supplier scheme | Text
840 | 1 | Price at the control date | Text
841 | 1 | Seller | Text
842 | 1 | Phone | Text
843 | 1 | Destination invoice | Text
844 | 1 | Raw material supplier | Text
845 | 1 | Incoterms (required if raw material) | Text
846 | 1 | Buyer (ZL) (requieres if raw material) | Text
847 | 1 | Puchasing group (required if raw material) | Text

## Contracts
ID | TYPE | FEATURE | RESPONSE | VALUE | BRAND | NUMBER | UNIT
GENERAL
GENERAL
1239 | 1 | Contract 1 | Text
1240 | 1 | Contract 2 | Text
1241 | 1 | Contract 3 | Text
1242 | 1 | Contract 4 | Text
1243 | 1 | Contract 5 | Text
1244 | 1 | Contract 6 | Text
1245 | 1 | Contract 7 | Text
1246 | 1 | Contract 8 | Text
1247 | 1 | Contract 9 | Text